## Decision making tool
|  | This tool was created by MIT D-Lab's Research Group | [10 empty] | This work is licensed under the Creative Commons
|  | as part of a research project on Evaporative Cooling Technologies for Improved Vegetable Storage in Mali | [10 empty] | Attribution-ShareAlike 4.0 International License
Decision Making Tool for Vegetable Storage with Evaporative Cooling Devices
| Designed for potential producers, disseminators, and users to determine if evaporative cooling devices are suitable for their context | [16 empty] | **need to alter this an include a link for background on brick evaporative cooling chambers and clay pot coolers
Information about evaporative cooling devices, such as "evaporative cooling chambers" and "clay pot coolers", can be found at: http://d-lab.mit.edu/resources/projects/evaporative-cooling | [17 empty] | potential producers, disseminators, and users
, and guide the calculation of potential financial savings.
| Section 1: Climate conditions and access to water | [5 empty] | Information about local climate conditions
[18 empty] | Table hum | pass | no* | no* | 14
Evaporative cooling devices operate through the evaporation of water, which must be added roughly once per day. They are most effective in low humidity environments (< 40% relative humidity) and provide the most benefit when in hotter climates. A world map showing where hot and dry climates ("BWh" and "BSh") are present can be found at:
*Only the cells with a white background can be edited
http://hanschen.org/koppen/
| **Use the Drop Down Menu for Questions 1, 2, 4, and 5 | [5 empty] | Detailed information on typical climate conditions in many regions around the world can be found at: | [10 empty] | Table | pass | no* | no* | 15
[7 empty] | http://d-lab.mit.edu/resources/projects/evaporative-cooling/weather | [10 empty] | Q3 | pass | no* | no* | 16
[18 empty] | Q4 | pass | no* | no* | 17
[18 empty] | Q5 blank | pass | no* | no* | 18
|  |  |  | January | February | March | April | May | June | July | August | September | October | November | December |  |  | no need Q6 | pass | no* | no* | 19
| Question 1: Humidity | What is the typical relative humidity during the day in each month? |  | Select the typical humidity | Select the typical humidity | Select the typical humidity | Select the typical humidity | Select the typical humidity | Select the typical humidity | Select the typical humidity | Select the typical humidity | Select the typical humidity | Select the typical humidity | Select the typical humidity | Select the typical humidity
| Question 2: Temperature | What is the typical maximum temperature during the day in each month? |  | Select the typical maximum daily temperature | Select the typical maximum daily temperature | Select the typical maximum daily temperature | Select the typical maximum daily temperature | Select the typical maximum daily temperature | Select the typical maximum daily temperature | Select the typical maximum daily temperature | Select the typical maximum daily temperature | Select the typical maximum daily temperature | Select the typical maximum daily temperature | Select the typical maximum daily temperature | Select the typical maximum daily temperature |  |  | list of months
| Question 3: Water access | For each month, select "Yes" if there is access to water that can be used for vegetable cooling and storage on a daily basis | [15 empty] | Humidity not complete (main) | Please complete Question 1 of the table above in order to move to the next section
| How effective will evaporative cooling will be in each month: | [16 empty] | Humidity not complete (secondary) | See the resources in the box above for information about local climate conditions around the world
| Notes on perfomance for each month: |  |  | Enter humidity | Enter humidity | Enter humidity | Enter humidity | Enter humidity | Enter humidity | Enter humidity | Enter humidity | Enter humidity | Enter humidity | Enter humidity | Enter humidity |  |  | won't work (main) | There are no times during the year when evaporative cooling devices can operate effectively
[18 empty] | won't work (secondary) | See messages above for monthly detail
| Please complete Question 1 of the table above in order to move to the next section | [16 empty] | no water (main) | Water is needed for evaporative cooling to operate effectively
[18 empty] | no water (secondary) | See Question #3
| See the resources in the box above for information about local climate conditions around the world | [16 empty] | pass (main) | Evaporative cooling devices can provide improved storage at some points during the year (move to the next section)
[18 empty] | pass (secondary) | See messages above for monthly reasons for poor perfomance
Section 2: Need for improved vegetable storage
Section 2: Need for improved vegetable storage
| Evaporative cooling devices can provide: - a high humidity environment (> 80% relative humidity) - a temperature decrease of 5 to 10 degrees Celcius (compared to the ambient temperature) |  |  | April: Evaporative cooling devices are: - suitable for vegetables such as: tomato, eggplant, leafy greens, pepper, and okra that store well in high humidity conditions - not suitable for foods such as: onion, coffee, millet, garlic, or maize that do not store well in high humidity conditions - not suitable for items such as: medicine, meat, and dairy produts that require stable low temperature environments See the "Storage conditions" tab for the optimal storage conditions for common fruits and vegetables
For the questions below, only consider the types of vegetables that store well in evaporative cooling devices
For the questions below, only consider the types of vegetables that store well in evaporative cooling devices
Select (Yes/No)
Select (Yes/No)
Answer question #4 to continue
| Answer question #4 to continue | [16 empty] | There is not a need that can be addressed by evaporative cooling devices
Question #5 must be answered in order to move to the next section
Move to the next section to calculate the cost of a clay pot cooler
Move to the next section to calculate the cost of a brick evaporative cooling chamber
Section 3: Constructing and operating an evaporative cooling device
[8 empty] | Enter the relevant currency units |  | USD
[20 empty] | Clay pot cooler |  |  |  |  | brick evaportaive cooling chamber | bar: May to June
[18 empty] | 0 | 0 | Inner pot |  |  |  |  | Bricks (typically 400 - 800 bricks are needed) | bar: January to February
[18 empty] | 0 | 0 | Outer pot/dish |  |  |  |  | Sand (enough to fill the space between the bricks) | bar: January to February
[18 empty] | 0 | 0 | Sand (enough to fill the space between the pots) |  |  |  |  | Wood frame for the top of the brick evaporative cooling chamber |  |  |  |  | Information on the required materials and best practices for constructing a clay pot cooler can be found at: | bar: January to February; May to November
[18 empty] | 0 | 0 | Cloth cover for pot |  |  |  |  | Cloth cover for the top of the brick evaporative cooling chamber |  |  |  |  | Information on the required materials and best practices for constructing a brick evaporative cooling chamber can be found at: | bar: January to February; May to November
|  |  |  | May: http://d-lab.mit.edu/resources/projects/Evaporative-Cooling-Best-Practices-Guide |  |  | 0 | 0 | Structure to keep the clay pot cooler in the shade |  |  |  |  | Structure to keep the brick evaporative cooling chamber in the shade
0 | bar: January to March
[18 empty] | complete (main) | Move to the next section to calculate the amount of financial savings that an evaporative cooling device can provide
complete (secondary)
[18 empty] | incomplete (main) | Enter the cost of each item listed in Question #6
[18 empty] | incomplete (secondary) | Enter "0" if there is access to the required items without purchsing them
[18 empty] | complete =0 (main) | ?? | bar: January to March
[18 empty] | complete =0 (secondary) | ?? | bar: January to March
Section 4: Financial savings that an evaporative cooling device can provide
The goal of this question is to determine if evaporaitve cooling will provide value in the months when there is a need
If the exact amounts are not known, it is OK to enter an estimate
[23 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[23 empty] | 0 | 0 |  |  |  |  | 0 | 0
|  | Vegetables that spoil | [14 empty] | Select item description |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Extra trips to the market | [14 empty] | Vegetables that spoil |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Select item description | [14 empty] | Extra trips to the market |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Select item description | [14 empty] | Lower price for vegetable sales |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Select item description | [14 empty] | Higher price for vegetable purchase |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Enter any other items | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Enter any other items | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Enter any other items | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Enter any other items | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Enter any other items | [13 empty] | Yearly total |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0
How effective will evaporative cooling will be in each month:
| Notes on perfomance for each month: |  |  | Enter humidity | Enter humidity | Enter humidity | Enter humidity | Enter humidity | Enter humidity | Enter humidity | Enter humidity | Enter humidity | Enter humidity | Enter humidity | Enter humidity | Yearly total
clay pot cooler
[17 empty] | brick evaporative cooling chamber | [6 empty] | Yes
[17 empty] | error | [6 empty] | Yes
| No savings have been entered into the table for Question 7 | [15 empty] | Savings = 0 | (main) | No savings have been entered into the table for Question 7
[17 empty] | Savings = 0 | (secondary) | savings message #1
[17 empty] | Savings + weather = 0 | (main) | Enter the amount of money that is spent each month due to inadequate vegetable storage (See Question 6)
[17 empty] | Savings + weather = 0 | (secondary) | savings message #2
[17 empty] | Savings + weather > 0 | (main)
[17 empty] | Savings + weather > 0 | (secondary) | savings message #3
Results: Financial cost benefit of an evaporative cooling device
[17 empty] | Savings > cost | (main) | The potential savings that evaporative cooling can provide is greater than the cost of a error device!
[17 empty] | Savings > cost | (secondary)
[17 empty] | Savings = 0 | (main) | No savings have been entered into the table for Question 7
[17 empty] | Savings = 0 | (secondary) | Consider non-financial benefits that improved vegetable storage can provide during times of the year when evaporative cooling devices perform well (See Section 1)
[17 empty] | Savings + weather = 0 | (main) | Evaporative cooling devices are not well suited during any of the times of year there is a need | bar: January to September
[17 empty] | Savings + weather = 0 | (secondary) | Consider non-financial benefits that improved vegetable storage can provide during times of the year when evaporative cooling devices perform well (See Section 1) | bar: January to September
[17 empty] | Cost > Savings | (main) | The cost of a error evaporative cooling device is greater than the financial savings that evaporative cooling devices can provide | bar: January to September
[17 empty] | Cost > Savings | (secondary) | Consider non-financial benefits that improved vegetable storage can provide during times of the year when evaporative cooling devices perform well (See Section 1) | bar: January to September
[17 empty] | Cost =0 | (main) | No cost was entered ?? | bar: January to September
[17 empty] | Cost =0 | (secondary) | No cost was entered ??
No savings have been entered into the table for Question 7
Consider non-financial benefits that improved vegetable storage can provide during times of the year when evaporative cooling devices perform well (See Section 1)
Additional resources and guides to constructing evaporative cooling devices can be found at:
http://d-lab.mit.edu/resources/projects/evaporative-cooling
The research report that informed this decision making tool can be found at:
http://d-lab.mit.edu/resources/projects/Evaporative-Cooling-Evaluation-Report
A best pratice guide for constructing and operating evaporative cooling devices can be found at:
http://d-lab.mit.edu/resources/projects/Evaporative-Cooling-Best-Practices-Guide
|  | This tool was created by MIT D-Lab's Research Group |  | October: This work is licensed under the Creative Commons
|  | as part of a research project on Evaporative Cooling Technologies for Improved Vegetable Storage in Mali |  | October: Attribution-ShareAlike 4.0 International License
Yes
Yes
Yes
Yes
Yes
Yes
Yes
Yes
Yes
Yes
Yes
Yes

## Calculations (hidden)
| Question 1: | Question 2: | Question 3: | Question 4: | Question 7: | Question 5: | Question 8?: | Question 9?: | Question 6:
| Humidity | Temperature | Water access | Need for improved vegetable storage | Costs of inadequate vegetable storage | Storage volume | Location | Access to materials | Cost of evaporative cooling device
Question options | Question 1: options | Question 2: options | Question 3: options | Question 4: options | Question 7: options | Question 5: options | Question 8?: options | Question 9?: options | Question 6: options | options | options | options
Default
2 | What is the typical relative humidity during the day in each month? | What is the typical maximum temperature during the day in each month? | For each month, select "Yes" if there is access to water that can be used for vegetable cooling and storage on a daily basis | Do the current vegetable storage options lead to any of the following in the communities of interest? - Vegetable spoilage (due to envoronmental conditions or pests) - Vegetables not available for consumption due to inadequate storage - Time or money spent on travel to purchase or sell vegetables - High cost of operating vegetable storage devices | pass | Can the amount of vegetables or leafy greens that need to be stored at any one time fit into a clay pot? | Is there a shaded area with good ventilation ranging from 1 by 1 meters to 2 by 2 meters, where a vegetable storage device can be placed? | Is there access to sand and clay pots? | Cost of a clay pot cooler
3 | [6 empty] | Is there a shaded area with good ventilation ranging from 2 by 2 meters to 4 by 4 meters, where a vegetable storage device can be placed? | Is there access to sand and bricks? | Cost of a brick evaporative cooling chamber
4
5
6
| Question 1: Humidity | Question 2: Temperature | Question 3: Water access
Calculations | What is the typical relative humidity during the day in each month? | What is the typical maximum temperature during the day in each month? | For each month, select "Yes" if there is access to water that can be used for vegetable cooling and storage on a daily basis
| 70 | 35
| 40 | 25
Possible answers | Question 1: answers | Question 2: answers | Question 3: answers | Question 4: answers | Question 7: answers | Question 5: answers | Question 8?: answers | Question 9?: answers | Question 6: answers | answers | answers | answers
1 | Select the typical humidity | Select the typical maximum daily temperature | Yes | Yes |  | Yes | Yes | Yes |  | 1
2 | greater than 70% | greater than 35 degrees Celsius |  | No |  | No | No | No
3 | between 40% and 70% | between 25 and 35 degrees Celsius |  | Select (Yes/No) |  | Select (Yes/No) | Select (Yes/No) | Select (Yes/No)
4 | less than 40% | less than 25 degrees Celsius
5
6
Answers given | [5 empty] | Select (Yes/No) | Yes | Yes
Message | Question 1: message | Question 2: message | Question 3: message | Question 4: message | Question 7: message | Question 5: message | Question 8?: message | Question 9?: message | Question 6: message | message | message | message
Answer 1 |  |  |  | Evaporative cooling products may be able to provides benefits, move to the next set of questions
Answer 2 | It is too humid for evaporative cooling to be effective during the times when there is a need for improved storage |  | Water is needed for evaporative cooling to work | There is not a need for evaporative cooling technologies or products |  | A evaporative cooling device made using a clay pot and sand is well sized for the needs described | To properly function, the clay pot cooler must be in a shady and relatively open area so that the water can evaporate | Clay pots and sand are needed to construct a small evaporative cooling device |  | There is a need for evaporative cooling technologies / products at some points during the year |  | A evaporative cooling device may be able to meet the needs described at some point during the year
Answer 3 |  |  | Access to water is required for evaporative cooling to work during the times when there is a need for improved vegetable storage |  |  | A evaporative cooling device made using bricks and sand is well sized for the needs described | To properly function, the evaporative cooling chamber must be in a shady and relatively open area so that the water can evaporate | Bricks and sand are needed to construct a brick evaporative cooling chamber |  | There is a need for evaporative cooling technologies / products for several months per year |  | A evaporative cooling device may be able to meet the needs described for several months per year
Answer 4 | [6 empty] | Great, move to the next question | Great, move to next section to calcuate the cost of constructing a clay pot cooler |  | There is a need for evaporative cooling technologies / products for a majority of the year |  | A evaporative cooling device may be able to meet the needs described for a majority of the year
Answer 5 |  |  |  | There is a need that could benefit from an evaporative cooling device |  | Enter the amount of vegetables that need to be stored to see more information about a suitable evaporative cooling device (See Question 5) | Great, move to the next question | Great, move to the next section to calculate the cost of constructing an evaporative cooling chamber |  |  |  | May not be a good fit (not hot enough)
Answer 6 | Enter the typical humidity to see if evapoative cooling will work effetively in the region of interest |  |  | There is not a need for evaporative cooling technologies or products |  |  | Keeping a clay pot cooler in a shady and open area will allow it to achieve the best performance |  |  | There is not a need for evaporative cooling at any point during the year | Enter the amount of money that is spent each month due to inadequate vegetable storage (See Question 6)
Answer 7 |  |  |  | See Question 4 to determine if there is a need for evaporative cooling |  |  | Keeping an evaporative cooling chamber in a shady and open area will allow it to achieve the best performance
| Question 1: calculations | Question 2: calculations | Question 3: calculations | Question 4: calculations | Question 7: calculations | Question 5: calculations | Question 8?: calculations | Question 9?: calculations | Question 6: calculations | calculations | calculations | calculations
Calculations (type 1)
Messages for final table | [5 empty] | Enter the amount of vegetables that need to be stored to see more information about a suitable evaporative cooling device (See Question 5) |  |  |  |  | Enter the amount of money that is spent each month due to inadequate vegetable storage (See Question 6)
| Yes/no on first need question |  |  | does the resondent get past the monthly table (1=yes, 0=no)
| 0 | yes=1, no=-1, select = 0 |  | 0 | Table only
| 0 | any "yes" >0 = Yes |  | 0 | table + Q4
| 0 | no=-1
Back end calcualtions
Select the typical humidity
| greater than 70% |  |  |  |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| between 40% and 70% |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| less than 40% |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Select the typical maximum daily temperature
greater than 35 degrees Celsius
between 25 and 35 degrees Celsius
less than 25 degrees Celsius
[6 empty] | January | February | March | April | May | June | July | August | September | October | November | December
d | bar: January to December
[5 empty] | W | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | any water?
[5 empty] | H | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | T | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| d=1 |  |  |  | There is not a need for evaporative cooling during
| W=0 |  | Poor | Water is needed | Water is needed for evaporative cooling to work
| H=0 |  |  | Enter humidity | Enter the typical humidity to see if evaporative cooling will be effective during
| H=1 |  | Poor | Too humid | It is too humid for evaporative cooling to be effective during
| H=2 T=3 |  | Poor | Not that hot | Evaporative cooling devices may not be a good fit for the climate in
| H=2, T=2 |  | Fair-Poor | Medium humidity | Evaporative cooling devices can give fair performance in the climate during
| H=2, T=1 |  | Fair | Medium humidity | Evaporative cooling devices can give fair performance in the climate during
| H=2, T=0 |  | Fair-Poor | Enter temperature | Evaporative cooling devices typically give fair performance in medium humidity climates
| H=3, T=3 |  | Good-Fair | Low humidity | Evaporative cooling devices perform well in the climate during
| H=3, T=2 |  | Good | Low humidity | Evaporative cooling devices perform well in the climate during
| H=3, T=1 |  | Good | Low humidity | Evaporative cooling devices perform well in the climate during
| H=3, T=0 |  | Good-Fair | Enter temperature | Evaporative cooling devices typically perform well in low humidity climates
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 1= go for Q1, 2, 3 |  |  |  |  | Enter humidity | Enter humidity | Enter humidity | Enter humidity | Enter humidity | Enter humidity | Enter humidity | Enter humidity | Enter humidity | Enter humidity | Enter humidity | Enter humidity
| 1 |  | Individual month answers |  |  | Poor | Poor | Poor | Poor | Poor | Poor | Poor | Poor | Poor | Poor | Poor | Poor
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 1 | Good | good | 0
|  | 0.75 | Good-Fair | good-fair | 0
|  | 0.5 | Fair | fair | 0
|  | 0.25 | Fair-Poor | fair-poor | 0
|  | 0 | Poor | poor | 0
|  | ?1 | ?2
IF($B$52=0,"",IF(E57=1,""&J$56&""&B57&"",IF(C57=1,IF(D57=1, IF(E57=0,""&K$56&""&B57&"", IF(E57=2,IF(F57=0,""&O$56&""&B57&"",IF(F57=1,""&N$56&""&B57&"",IF(F57=2,""&M$56&""&B57&"",IF(F57=3,""&L$56&""&B57&"","2-")))), IF(E57=3,IF(F57=0,""&S$56&""&B57&"",IF(F57=1,""&R$56&""&B57&"",IF(F57=2,""&Q$56&""&B57&"",IF(F57=3,""&P$56&""&B57&"","3-")))),"F-"))),I$56),""&H$56&""&B57&"")))
[6 empty] | July: just ideas of what to say, not functional; August: There is not a need for evaporative cooling during; September: Water is needed for evaporative cooling to work; October: Enter the typical humidity to see if evaporative cooling will be effective during; November: It is too humid for evaporative cooling to be effective during; December: Evaporative cooling devices may not be a good fit for the climate in | Evaporative cooling devices can give fair performance in the climate during | Evaporative cooling devices can give fair performance in the climate during | Evaporative cooling devices typically give fair performance in medium humidity climates | Evaporative cooling devices perform well in the climate during | Evaporative cooling devices perform well in the climate during | Evaporative cooling devices perform well in the climate during | Evaporative cooling devices typically perform well in low humidity climates | Rating |  | Overall answers
not relevant by itself
[6 empty] | August: 0; September: Poor; October: 0; November: Poor; December: Poor | Fair-Poor | Fair | Fair-Poor | Good-Fair | Good | Good | Good-Fair
[6 empty] | August: d=1; September: W=0; October: H=0; November: H=1; December: H=2 T=3 | H=2, T=2 | H=2, T=1 | H=2, T=0 | H=3, T=3 | H=3, T=2 | H=3, T=1 | H=3, T=0 |  |  | message if none
[5 empty] | Total potential savings per month | January: Total savings per month (considering conditions for evaporative cooling); August: There is not a need for evaporative cooling during; September: Water is needed for evaporative cooling to work; October: Enter the typical humidity to see if evaporative cooling will be effective during; November: It is too humid for evaporative cooling to be effective during | [7 empty] | Rating | Reason | sentence prefix |  |  |  | Evaporative cooling devices will perform well during |  |  |  | Evaporative cooling devices have the potential to perform well during |  |  |  | Evaporative cooling devices can provide fair performance during |  |  |  | Evaporative cooling devices could provide fair performance during |  |  |  | Evaporative cooling devices can provide improved storage during |  |  |  | The humidity is too high for evaporative cooling during |  |  | Evaporative cooling devices are not well suited during any of the times of year there is a need ( |  |  | Evaporative cooling devices are not well suited during any of the times of year there is a need: |  |  | Evaporative cooling devices have the potential to save money during: |  |  |  | The humidity is too high for evaporative cooling during
| automatic pass (all = 1) | Water | Humidity | Temp | [22 empty] | sentence sufix | [7 empty] | , but adding water regularly is needed | [7 empty] | , but adding water regularly is needed | [10 empty] | )
| Convert to numbers | Convert to numbers | Convert to numbers | Convert to numbers | [20 empty] | from other table |  |  | H = 3 |  |  |  | H=3, but no water access (W=0) |  |  |  | H=2, T=0, 1, or 2 |  |  |  | H=2, T=0, 1, or 2, but no water access (W=0) |  |  |  | H=3, or H=2, T=0, 1, or 2 |  |  |  | H=1 | [12 empty] | H=1 | [6 empty] | Individual month answers | Individual month answers -v 2
January | 1 | 0 | 0 | 0 |  | August: 0; October: 1; November: 0 | [7 empty] | 0 | Enter humidity | January |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  |  | 0 | 0 |  | 0 | Enter humidity | Water is needed for evaporative cooling to work |  | error
February | 1 | 0 | 0 | 0 |  | August: 0; October: 1; November: 0 | [7 empty] | 0 | Enter humidity | February |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  |  | 0 | 0 |  | 0 | Enter humidity | Water is needed for evaporative cooling to work |  | error
March | 1 | 0 | 0 | 0 |  | August: 0; October: 1; November: 0 | [7 empty] | 0 | Enter humidity | March |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  |  | 0 | 0 |  | 0 | Enter humidity | Water is needed for evaporative cooling to work |  | error
April | 1 | 0 | 0 | 0 |  | August: 0; October: 1; November: 0 | [7 empty] | 0 | Enter humidity | April |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  |  | 0 | 0 |  | 0 | Enter humidity | Water is needed for evaporative cooling to work |  | error
May | 1 | 0 | 0 | 0 |  | August: 0; October: 1; November: 0 | [7 empty] | 0 | Enter humidity | May |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  |  | 0 | 0 |  | 0 | Enter humidity | Water is needed for evaporative cooling to work |  | error
June | 1 | 0 | 0 | 0 |  | August: 0; October: 1; November: 0 | [7 empty] | 0 | Enter humidity | June |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  |  | 0 | 0 |  | 0 | Enter humidity | Water is needed for evaporative cooling to work |  | error
July | 1 | 0 | 0 | 0 |  | August: 0; October: 1; November: 0 | [7 empty] | 0 | Enter humidity | July |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  |  | 0 | 0 |  | 0 | Enter humidity | Water is needed for evaporative cooling to work |  | error
August | 1 | 0 | 0 | 0 |  | August: 0; October: 1; November: 0 | [7 empty] | 0 | Enter humidity | August |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  |  | 0 | 0 |  | 0 | Enter humidity | Water is needed for evaporative cooling to work |  | error
September | 1 | 0 | 0 | 0 |  | August: 0; October: 1; November: 0 | [7 empty] | 0 | Enter humidity | September |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  |  | 0 | 0 |  | 0 | Enter humidity | Water is needed for evaporative cooling to work |  | error
October | 1 | 0 | 0 | 0 |  | August: 0; October: 1; November: 0 | [7 empty] | 0 | Enter humidity | October |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  |  | 0 | 0 |  | 0 | Enter humidity | Water is needed for evaporative cooling to work |  | error
November | 1 | 0 | 0 | 0 |  | August: 0; October: 1; November: 0 | [7 empty] | 0 | Enter humidity | November |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  |  | 0 | 0 |  | 0 | Enter humidity | Water is needed for evaporative cooling to work |  | error
December | 1 | 0 | 0 | 0 |  | August: 0; October: 1; November: 0 | [7 empty] | 0 | Enter humidity | December |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  |  | 0 | 0 |  | 0 | Enter humidity | Water is needed for evaporative cooling to work |  | error
Key takeaways about the performance of evaporative cooling devices in the climate described (Section 1)
Well
fair
well with water
fair with water
humidity too high
Key takeaways about using an evaporative cooling device for the needs described (Section 2)
need
needs size | Enter the amount of money that is spent each month due to inadequate vegetable storage (See Question 6) | bar: January to May
shade | bar: January to May
potenital to save money | Enter the amount of vegetables that need to be stored to see more information about a suitable evaporative cooling device (See Question 5) | bar: January to May
Key takeaways ??? (Section 3)
months when money can be saved | bar: January to May
amount that can be saved | 151 | bar: January to May
balance | 152 | bar: January to May
153 | bar: January to May

## Storage conditions
Guide to Optimal Storage Conditions for Common Fruits and Vegetables
Proper storage conditions are required to maximize storage life and maintain quality of harvested fruits and vegetables. Fresh fruits need low temperature and high relative humidity to reduce the respiration and slow down the metabolic processes. The table below indicates optimal temperatures and moisture conditions for some common fruits and vegetables.
Product | Optimal Storage Temperature (oC) | Optimal Humidity (%) | Top Ice Accepted 1) | Water Sprinkle Accepted 2) | Ethylene Production | Sensitive to Ethylene 3) | Approximate Storage Life | Comments
Apples | -1 to 4 | 90-95 | No | No | High | Yes | 1-12 months | Chill sensitive stored at 2 to 4 oC
Apricots | -1 to 0 | 90-95 | No | No | High | Yes | 1-3 weeks
Artichokes | 0 to 2 | 90-95 | Yes | Yes | No | No
Artichokes, Jerusalem | -1 to 0 | 90-95 | No | No | No | No | 4-5 months
Asparagus | 0 to 2 | 95-100 | No | Yes | No | Yes | 2-3 weeks
Avocados, ripe | 3 to 7 | 85-95 | No | No | High | Yes
Avocados, unripe | 7 to 10 | 85-95 | No | No | Low | Yes, Very |  | Keep away from ethylene producing fruits
Bananas, green | 17 to 21 | 85-95 | No | No | Low | Yes
Bananas, ripe | 13 to 16 | 85-95 | No | No | Medium | No
Basil | 11 to 15 | 90-95 | No | Yes | No | Yes
Beans, dry | 4 to 10 | 40-50 |  |  |  |  | 6-10 months
Beans, green or snap | 4 to 7 | 95 |  |  |  |  | 7-10 days
Beans, sprouts | 0 | 95-100 |  |  |  |  | 7-9 days
Beans. Lima | 3 to 5 | 95 |  |  |  |  | 5-7 days
Beets | 0 to 2 | 90-95 | Yes | Yes | No | Yes
Beets, bunched | 0 | 98-100 |  |  |  |  | 10-14 days
Beets, topped | 0 | 98-100 |  |  |  |  | 4-6 months
Blackberries | 0 to 1 | 90-95 | No | No | Very Low | No | 2-3 days
Blueberries | 0 to 2 | 90-95 | No | No | Very Low | No
Bok Choy | 0 to 2 | 90-95 | No | Yes | No | Yes
Broccoli | 0 | 95-100 | Yes | Yes | No | Yes | 10-14 days
Brussels Sprouts | 0 | 90-95 | Yes | Yes | No | Yes | 3-5 weeks
Bunched Greens | 0 | 90-95 | Yes | Yes | No | Yes |  | Beets, Chard, Green Onions, Mustard, Parsley, Radish, Spinach, Turnip
Cabbage, Chinese | 0 | 95-100 | No | No | No | Yes | 2-3 months
Cabbage, early | 0 | 98-100 | Yes | Yes | No | Yes | 3-6 weeks
Cabbage, late | 0 | 98-100 |  |  |  |  | 5-6 months
Cantaloupe | 2 to 3 | 90-95 | No | No | Medium | Yes
Carrots, bunched | 0 | 95-100 | Yes | Yes | No | Yes | 2 weeks | Ethylene may cause a bitter flavor
Carrots, immature | 0 | 98-100 |  |  |  |  | 4-6 weeks
Carrots, mature | 0 | 98-100 |  |  |  |  | 7-9 months
Cauliflower | 0 | 95-98 |  |  |  |  | 3-4 weeks
Cauliflower | 0 to 2 | 90-95 | No | No | No | Yes
Celery | 0 | 98-100 | Yes | Yes | No | Yes | 2-3 months
Celeriac | 0 | 97-99 |  |  |  |  | 6-8 months
Chard | 0 | 95-100 |  |  |  |  | 10-14 days
Cherries | 0 to 2 | 90-95 | No | No | Very Low | No
Cherries, sour | 0 | 90-95 |  |  |  |  | 3-7 days
Cherries, sweet | -1 to -1 | 90-95 |  |  |  |  | 2-3 weeks
Chicory | 0 to 2 | 90-95 | Yes | Yes | No | No
Chicory, witloof | 0 | 95-100 |  |  |  |  | 2-4 weeks
Chinese Pea Pods | 0 to 2 | 90-95 | No | No | No | No
Coconuts | 13 to 16 | 80-85 | No | No | No | No |  | Extended storage 0 to 2 oC
Collards | 0 | 95-100 |  |  |  |  | 10-14 days
Corn, sweet | 0 | 95-98 | Yes | Yes | No | No | 5-8 days
Cranberries | 3 to 6 | 90-95 | Yes | No | No | No
Cucumbers | 10 to 13 | 95 | No | No | Very Low | Yes | 10-14 days
Currants | -1 to 0 | 90-95 |  |  |  |  | 1-4 weeks
Eggplant | 8 to 12 | 90-95 | No | No | No | Yes | 1 week
Elderberries | -1 to 0 | 90-95 |  |  |  |  | 1-2 weeks
Endive | 0 | 95-100 | Yes | Yes | No | No | 2-3 weeks
Escarole | 0 to 2 | 90-95 | Yes | Yes | No | No
Escarole | 0 | 95-100 |  |  |  |  | 2-3 weeks
Figs | 0 to 2 | 90-95 | No | No | Low | No
Garlic | 0 | 65-70 | No | No | No | No | 6-7 months | May be stored at 13 to 21 oC for shorter periods
Ginger Root | 16 to 18 | 65-70 | No | No | No | No
Gooseberries | -1 to 0 | 90-95 |  |  |  |  | 3-4 weeks
Grapefruit | 13 to 16 | 90-95 | No | No | Very Low | No
Grapes | -1 to 0 | 85 | No | No | Very Low | Yes | 2-8 weeks
Green Beans | 4 to 7 | 90-95 | No | No | No | Yes
Green Peas | 0 to 2 | 90-95 | No | No | No | Yes
Greens, leafy | 0 | 95-100 |  |  |  |  | 10-14 days
Guavas | 7 to 10 | 90-95 | No | No | Medium | Yes
Herbs | 0 to 2 | 90-95 | No | Yes | No | Yes
Horseradish | -1 to 0 | 98-100 |  |  |  |  | 10-12 months
Jicama | 13 to 18 | 65-70 |  |  |  |  | 1-2 months
Kale | 0 | 95-100 |  |  |  |  | 2-3 weeks
Kiwi, ripe | 0 to 2 | 90-95 | No | No | High | Yes
Kiwi, unripe | 0 to 2 | 90-95 | Ne | No | Low | Yes, Very
Kohlrabi | 0 | 98-100 | Yes | Yes | No | No | 2-3 months
Leeks | 0 | 95-100 | Yes | Yes | No | Yes | 2-3 months
Lemons | 11 to 13 | 90-95 | No | No | Very Low | No
Lettuce | 0 | 98-100 | No | Yes | No | Yes | 2-3 weeks
Limes | 9 to 13 | 90-95 | No | No | Very Low | No
Lychees | 4 to 7 | 90-95 | No | No | Very Low | No
Mangos | 10 to 13 | 85-95 | No | No | Medium | Yes
Melons, Casaba/Persian | 10 to 13 | 85-95 | No | No | Very Low | Yes |  | Riper melons may be stored at 7 to 10 oC
Melons, Crenshaw | 10 to 13 | 85-95 | No | No | Low | Yes |  | Riper melons may be stored at 7 to 10 oC
Melons, Honey Dew | 10 to 13 | 85-95 | No | No | Medium | Yes |  | Riper melons may be stored at 7 to 10 oC
Mushrooms | 0 | 95 | No | Yes | No | Yes | 3-4 days
Napa | 0 to 2 | 90-95 | No | No | No | Yes
Nectarines | -1 to 0 | 90-95 | No | No | High | No | 2-4 weeks
Okra | 7 to 10 | 90-95 | No | No | Very Low | Yes | 7-10 days
Onions | 0 to 2 | 65-75 | No | No | No | No |  | May be stored at 13 to 21 oC for shorter periods
Oranges | 4 to 7 | 90-95 | No | No | Very Low | No
Papayas | 10 to 13 | 85-95 | No | No | Medium | Yes
Parsley | 0 | 95-100 |  |  |  |  | 2-3 months
Parsnips | 0 | 98-100 | Yes | Yes | No | Yes | 4-6 months
Peaches | -1 to 0 | 90-95 | No | No | High | Yes | 2-4 weeks
Pears | -2 to -1 | 90-95 | No | No | High | Yes | 2-7 months
Peas, green | 0 | 95-98 |  |  |  |  | 1-2 weeks
Peas, southern | 4 to 5 | 95 |  |  |  |  | 6-8 days
Peppers, hot chili | 0 to 10 | 60-70 | No | No | No | Yes | 6 months
Peppers, sweet | 7 to 13 | 90-95 | No | No | No | No | 2-3 weeks
Persimmons | 0 to 2 | 90-95 | No | No | No | Yes, Very
Pineapples | 10 to 13 | 85-95 | No | No | Very Low | No |  | Odor may influence avacados
Plums | -1 to 0 | 90-95 | No | No | High | Yes | 2-5 weeks
Pomegranates | 5 to 10 | 90-95 | No | No | No | No
Potatoes | 7 to 10 | 90-95 | No | No | No | Yes
Precut Fruit | 0 to 2 | 90-95 | No | No | Low | No
Precut Vegetables | 0 to 2 | 90-95 | No | No | No | Yes
Prunes | -1 to 0 | 90-95 | No | No | High | Yes | 2-5 weeks
Pumpkins | 10 to 13 | 65-70 | No | No | No | Yes | 2-3 months
Quinces | -1 to 0 | 90 |  |  |  |  | 2-3 months
Quinces | 0 to 2 | 90-95 | No | No | High | Yes
Radishes, spring | 0 | 95-100 | Yes | Yes | No | Yes | 3-4 weeks
Radishes, winter | 0 | 95-100 |  |  |  |  | 2-4 months
Raspberries | -1 to 0 | 90-95 | No | No | Very Low | No | 2-3 days
Rhubarb | 0 | 95-100 | No | Yes | No | No | 2-4 weeks
Rutabagas | 0 | 98-100 | Yes | Yes | No | Yes | 4-6 months
Salad Mixes | 0 to 2 | 90-95 | No | Yes | No | Yes
Salsify | 0 | 95-98 |  |  |  |  | 2-4 months
Spinach | 0 | 95-100 |  |  |  |  | 10-14 days
Sprouts | 0 to 2 | 90-95 | No | No | No | Yes
Squashes, summer | 5 to 10 | 95 | No | No | No | Yes | 1-2 weeks
Squashes, winter | 10 | 50-70 | No | No | No | Yes | 1-6 months
Strawberries | 0 | 90-95 | No | No | Very Low | No | 3-7 days
Sweet Potatoes | 13 to 16 | 85-90 | No | No | No | Yes | 4-7 months
Tangerines | 0 to 2 | 90-95 | No | No | Very Low | No
Tangerines | 4 to 7 | 90-95 | No | No | Very Low | No
Tomatoes, mature green | 13 to 21 | 90-95 | No | No | Low | Yes | 1-3 weeks | Riping can be delayed by storing at 13 to 16 oC
Tomatoes, ripe | 13 to 21 | 90-95 | No | No | Medium | No | 4-7 days
Turnip greens | 0 | 95-100 |  |  |  |  | 10-14 days
Turnips | 0 | 95 | Yes | Yes | No | Yes | 4-5 months
Watercress | 0 | 95-100 |  |  |  |  | 2-3 weeks
Watermelon | 13 to 21 | 85-95 | No | No | No | Yes, Very |  | Keep away from ethylene producing fruits
1) Top icing the products may be very effective keeping the temperature low and the product surface close to 100% humidity.
2) Spraying with water may be effective by keeping the temperature low (evaporative cooling) and the surface 100% humidity.
3) Products sensitive to ethylene should not be stored together with products producing ethylene. Exposure to ethylene may soften the flesh, adding bitter taste to the product or/and accelerate ripening.
Data adapted from:
https://www.engineeringtoolbox.com/fruits-vegetables-storage-conditions-d_710.html
Accessed May 6th, 2018